GENERATOR daily inpection

country program

Generator ID No:	Period:

mon	tue	wed	thu	fri	sat	sun
Staff doing inspection should initial each box as he/she finds that item is functioning OK.
Running Hours (check the hourly guage and enter amount)
Generator is clean and in good condition
Shed is clean and in good condition
Fuel tank at least 50% full
Fuel leaks?
Fuel cap on?
Motor Oil level is okay?
Motor Oil condition?
Radiator, no leaks?
Radiator coolant level okay?
Battery connections good?
Battery water level ok?
Battery Charger is charging?
No Leaks (look underneath generator)
Exhaust system is functioning normally?
Auto-start is working?
All Tools and equipment are present and in good condition?
Wrenches
Fire extinguisher present
Fire extinguisher working
LIST OTHER EQUIPMENT
First Aid Kit present?
First Aid Kit complete?
Water decanter (does it need to be drained?)
Documents:
Generator Log present?
Daily Check forms present?
Manuals present?
Start engine:
Pre-heating works?
Motor starts easily?
Oil pressure OK?
Battery Charging?
No unusual smells, lights, sounds?